**Key Features STE2905M RF Shield BoxIncluded Interface Options**

None

**Included Power**

None

**Included Ventilation**

60MM Honeycomb Vents

A black metal box with a black handle

Description automatically generated**I/O Plates Included**

One

**Loading Style**

FRONT

**Warranty**

Limited 1 YEAR

**Category**

BENCH TOP

**Absorber/foam**

3/4" Carbon Impregnated

**External Dimensions**

8.7"(W) X 20.6"(D) X 12.1"(H)

**Internal Dimensions**

6.2"(W) X 16.8"(D) X 9.9"(H)

**Approx. Shipping Weight**

N/A

**Shielding Effectiveness (dB)**

Isolation At 2.4GHz

>95dB

Isolation At 5.8GHz

>90dB

The STE2905M is a blank enclosure ready to be customized to match your specific RF testing

requirements. Our Engineering team is available to assist you to make sure your custom enclosure is

designed to meet your unique RF testing requirements. This enclosure does incorporate a 60mm passive

ventilation system with optional 12 volt DC, 115 VAC, or 230VAC fans available. As with all of our enclosures, your custom I/O configuration is brought out to a precision machined I/O panel, giving you

off-the-shelf delivery of your custom order.

**STE2905M RF Shield Box**

* Designed for a wide variety of RF testing, function/s determined by user customization.
* Perfect for (Wi-Fi 4, 5, 6, 6E (802.11a/b/g/n/ac/ax)
* Wireless device testing
* Bluetooth, RFID, 3G, 4G, 5G testing
* Totally customizable with a wide variety of I/O options available

**Features:**

* Designed for WLAN testing
* Front loading swing away door
* Dual ventilation or fan forced cooling
* Exclusive double lip RF tight gasket
* Universal I/O connector interface plate
* RF absorbent foam liner
* Optional security locking latch available

**Isolation (Base Enclosure, may vary depending on I/O or options selected in final configuration):**

>95dB to 2.4GHz

>90dB to 5.8GHz

**SPECIFICATIONS SUBJECT TO CHANGE WITHOUT PRIOR NOTICE**

**None provided standard, customized to your**

**specific requirements.**

* See options for off-the-shelf connectors/interfaces available.
* Coaxial connectors: SMA, BNC, TNC, N, N to SMA, etc..
* Digital interfaces: USB, Ethernet, Video, Serial, Audio, Fiber, etc..
* Power filter interface: AC and DC
* Power Strip Options: US, UK, European, France, Swiss, Italy, Israel, India, China, Australia,
* Multi Country Config, etc…
* Custom connection options can be sourced through our Engineering Team